## Settings
Section | Setting | Value | Possible Values | Description | Config Key
INPUT DATA | *Input folder: |  | Folder path as text. Example: C:/Users/.../Analysis/ | Paste the path to the folder that contains the Lumi raw CSV files. The folder should contain files such as 1a_Raw.csv, 1b_Raw.csv, 2a_Raw.csv, etc. | input_folder
OUTPUT FOLDER | *Output folder: | analysis_output | Folder name or Full folder path | Choose the name/path of the folder where processed results will be saved. If the folder does not exist, it will create a new folder with that name. | output_folder
GROUPING | *Replicates per group: | 3 | Positive integer. Example: 3 | How many raw files belong to each sample/group. They are grouped by their order in your folder. For example, if each sample has 4 replicate files, use 4. | replicates_per_group
| Sample names: |  | List of group names, or None. Example: ["Liver", "Kidney", "Lung"] | Optional labels for each group of replicates. These names will be assigned to groups according to the detected file order. | sample_tags
| Disabled replicates: | [] | List of replicate names. Example: ["1a", "2b", "3c"] | Choose specific replicates to disable from the analysis. NOTE #1: each replicate name must be written inside quotes (" "). NOTE #2: write replicate names without suffixes. Correct example: ["1a", "2b"] Incorrect example: ["1a_Raw.csv", "2b_Raw.csv"] | disabled_replicates
| Include extra files: | False | True / False | Handle the extra files that don't complete a full group: • False = ignore leftover files and print a message to the user. • True = analyse leftover files as an additional group named Extra. | include_extra_group
PLOTTING SETTINGS | Create plots of the data: | True | True / False | • True = create and save raw-data plots. • False = do not create raw-data plots. | plot_raw_data
| Replicate display mode: | replicates_and_mean | replicates_and_mean / mean_only / replicates_only | Choose what to display on the raw-data plots from these options: • replicates_and_mean = show replicates and their average. • mean_only = show only the average signal. • replicates_only = show only the replicates, without the average. NOTE: you can also hide specific replicates in the override section. | replicate_display_mode
| Choose plot style: | line | points / line / points+line | Plot display style - choose from the options below: • points = plot data as points only. • line = plot data as continuous lines. • points+line = plot points connected by lines. | plot_style
| Y-axis upper limit: |  | None, an upper limit, or a range. Examples: None, 500, (-100, 500) | You can choose a unified Y-axis limit for all the groups: • None = automatic y-axis scaling. • 500 = y-axis from 0 to 500. • (-100, 500) = y-axis from -100 to 500. | y_limit
| Plot description: |  | Text, or None. Example: "Experiment 2.6.26". | Optional text shown in the top-right corner of the plot. Use None for no description or write the desired text in quotes " ". | description
| CT start hour: | 0 | Number. Example: 6 | CT shift - this changes the CT values to start from the given shift. Example: CT start hour = 6 means the first row is CT = 6. | ct_start_hour
| X-axis start (only changes the plot): | 0 | Number. (Usually 0) | Left x-axis limit for the plots. Usually keep 0 so the plot axis starts visually at 0, even if the first data point starts at some shifted CT such as 6. | x_axis_start
PEAK SETTINGS | Show peaks: | False | True / False | • True = show peaks for each replicate on raw-data plots. • False = do not show peaks for the replicates. | plot_peaks
| Show average peaks: | False | True / False | • True = show the peaks of the average signal on raw-data plots. • False = do not show peaks for the average signal. | show_average_peaks
| Show average peak labels: | False | True / False | • True = show text labels with CT next to average-signal peaks. • False = do not show CT labels. | show_average_peaks_txt
GROUP-SPECIFIC OVERRIDES | Group names: | [] | List of group names. Example: ["Liver", "Lung"] | Use this section only when you want to limit Y-axis differently for specific groups. For example, if group names are ["Liver", "Lung"], then [500, 700] means:Liver gets 500, and Lung gets 700. NOTE: each group name MUST be in quotes (example: "Liver").Each position matches the group name in the same position. | override_group_names
| Y-axis limit: | [] | List with limits (number/range). Example: [500, (-100, 500)] | When choosing a limit, maintain the same order in which you listed the groups. | override_y_limit
PEAK/PERIOD TABLE SETTINGS | Save peak/period tables: | True | True / False | • True = create an Excel file with peaks + periods table per group. • False = do not create an Excel file for peaks + periods. | save_peak_tables
DATA LENGTH / TAIL CUTTING | Length of Lumi's interval: | 10 | Positive number. Example: 10 | The length of the sampling interval in minutes. NOTE: Lumi's interval by default is 10 minutes. | interval_minutes
| Maximum days to analyze: |  | Positive number, or None. | Limit analysis to the first N days. Leave None for no limit, or choose a positive number N for number of days to analyze. This feature is useful to cut the tail of the data if it isn't significant to the analysis. | max_days
ANALYSIS SETTINGS | Maximum background noise: | 25 | Number. Example: 25 | The minimum counts/sec value that marks the beginning of the real signal.All consecutive rows from the start, with counts below this threshold, are treated as pre-sample noise. | noise_max
| Remove background noise: | True | True / False | • True = subtract the average pre-sample noise from the signal. • False = keep the signal without subtracting that background. | remove_noise
SAVING | Save processed files: | True | True / False | • True = save processed files to the given output folder. • False = run analysis without saving files. | save_file
Note on C1: Edit only this column. The other columns are locked and are meant as documentation.